III. SYSTEM OVERVIEW AND PROBLEM FORMULATION

To reduce the physical risks of rigid rehabilitation robots and provide an engaging therapeutic environment, we introduce a magnetically-actuated non-contact rehabilitation system. This section describes the hardware architecture, states the control problem, and formulates it as a reinforcement learning (RL) task.

A. Hardware Platform

The platform achieves safety by physically separating the robotic actuator from the patient. As shown in Fig. X, the system has three layers. The actuation layer places a UR10 robotic arm beneath the workspace, with a permanent magnet on its end-effector that drives the microrobot above. The interaction layer is a 5 mm acrylic sheet that supports the unpowered magnetic microrobot while acting as a barrier between the arm and the patient. The perception layer uses an overhead RGB camera connected via USB to a host computer, which also communicates with the UR10 over Ethernet. At each control cycle the computer acquires a camera frame, estimates the positions of the microrobot and the patient's hand, and sends target pose commands to the arm.

This physical separation between actuator and patient is central to the system's safety design. The acrylic interface substantially reduces the risk of blunt impact, excessive traction, and crushing injuries that may arise in direct-contact rehabilitation devices. In addition to improving safety, the system has a simple and reproducible structure: it requires only a collaborative robot, a camera, and a permanent magnet, without wearable components, force sensors, or custom actuation modules. The microrobot itself is unpowered and is driven passively by the magnetic field, eliminating the need for onboard electronics or batteries. This hardware simplicity facilitates setup, maintenance, and potential deployment across clinical environments, and it provides an additional safety margin that is especially valuable during the iterative development of data-driven controllers.

B. Problem Formulation

We formulate the rehabilitation task as a pursuit-evasion game played on a flat workspace. The patient sits in front of the acrylic surface and uses one hand to chase the magnetic microrobot, which moves under the control of the robot arm below. The goal is to catch the microrobot by bringing the hand within a small contact radius. Unlike static reaching exercises, the microrobot actively evades the patient's hand. Catching it therefore requires continuous visuomotor tracking, trajectory prediction, and real-time motor planning--sustained cognitive and physical demands that go beyond point-to-point reaching. Clinical evidence shows that continuous, goal-directed visuomotor tracking engages the central nervous system and promotes neuroplasticity for motor recovery [X]. To maximize therapeutic benefit, task difficulty must adapt to the patient's current ability. This need for adaptive difficulty is formalized by the Zone of Proximal Development (ZPD), a concept from educational psychology introduced by Vygotsky [X] that describes the range of tasks a learner can perform with guidance but not alone. In our setting, the ZPD translates to a target distance range between the hand and the microrobot: the robot should neither escape completely nor yield passively, but keep the distance within this range so the patient stays challenged without becoming fatigued or frustrated. Achieving this within the ZPD is non-trivial, as the robot must continuously respond to a patient whose movement speed, strategy, and motor noise may all vary.

Maintaining this therapeutic difficulty range is challenging for conventional control methods. Many classical approaches, such as artificial potential fields or rule-based impedance controllers, rely primarily on hand-crafted rules and instantaneous state feedback. As a result, they may struggle to anticipate higher-level patient strategies, such as trajectory interception, or to adapt to heterogeneous movement patterns across patients. Their performance may further degrade in the presence of neurological motor impairments, including tremor, delayed response, and bradykinesia, because these methods typically lack an explicit mechanism for distinguishing purposeful movement from involuntary perturbations. RL provides a suitable framework for addressing these challenges. In our formulation, the robot learns an evasion policy through repeated interaction with the patient or patient models. The policy is rewarded for maintaining the hand-microrobot distance within the therapeutic range and penalized for unsafe or uninformative behaviors, such as escaping too far or being caught too easily. By conditioning the policy on temporal observations of hand and microrobot motion, the controller can infer patient intent from movement history rather than responding only to instantaneous position error. Through this process, the robot can progressively adapt its behavior to different patient capabilities and maintain an appropriate level of challenge. The design choices in Section IV--domain randomization, temporal encoding, and league training--are each motivated by a specific challenge identified in this problem formulation.

IV. METHODOLOGY

The previous section formulated the rehabilitation task and motivated the use of reinforcement learning. This section describes the complete training framework. We first introduce Cognitive-Motor Decoupled Domain Randomization (CMD-DR), a domain-randomization scheme that accounts for both patient movement strategies and motor limitations (Section IV-A). We then present a dual-stream encoder with an auxiliary future-dynamics head to extract motion information from noisy temporal observations (Section IV-B). Finally, we describe a league training procedure designed to improve the robustness of the robot policy against a growing pool of hand behaviors (Section IV-C).

A. Cognitive-Motor Decoupled Domain Randomization

A key challenge for training a generalizable robot policy is that neurological patients may vary substantially in both movement strategy and motor execution quality. To address this issue, CMD-DR uses a two-layer domain randomization scheme. The first layer randomizes the hand's movement strategy. At the beginning of each episode, a hand controller is sampled from an opponent pool. This pool includes simple scripted controllers based on fixed pursuit rules as well as trained RL controllers that can intercept and anticipate the microrobot. The selected controller produces a desired hand displacement at each timestep. The second layer modifies this desired displacement according to motor and sensing constraints. The raw displacement is first passed through a first-order low-pass filter to model muscle inertia:

x_t = alpha x_{t-1} + (1 - alpha) u_t,   alpha in (0, 1).     (1)

where u_t denotes the raw desired displacement and x_t denotes the filtered displacement. Acceleration clipping is then applied to limit abrupt changes in motion:

Delta x_t = clip(x_t - x_{t-1}, -a_max, a_max).     (2)

Gaussian observation noise is further added to simulate position estimation errors from the vision system. To model delayed motor response, a temporal delay is introduced so that the displacement executed at time t corresponds to the intended displacement generated several frames earlier. The delay is sampled at the beginning of each episode. Table I lists the parameter values and sampled ranges for the motor-execution constraints. This design separates what the hand attempts to do from how the movement is actually executed. As a result, the robot policy is exposed to a wide range of patient-like behaviors and is encouraged to learn motion patterns that are not tied to a single simulated hand model.

| Parameter | Symbol | Range |
| --- | --- | --- |
| Muscle inertia | alpha | 0.7 |
| Maximum acceleration | a_max | 0.15 |
| Gaussian observation noise | sigma | U(0.01, 0.08) |
| Neural delay | delta | 0-3 frames (0-375 ms) |

B. Dual-Stream Encoder with Future Dynamics Head

The patient's intended movement cannot be directly inferred from a single frame. In addition, the observed hand motion may be affected by sensing noise, motor delay, tremor-like perturbations, and slow response. Therefore, using only instantaneous position inputs may not be sufficient for the policy to distinguish purposeful movement from short-term disturbances. To address this problem, we design a dual-stream encoder with an auxiliary prediction task, as shown in Fig. X.

To separate geometric context from motion history, the observation vector is split into two streams. At each timestep, the 44-dimensional observation vector is divided into a 12-dimensional scalar vector and a 32-dimensional temporal buffer:

o_t = [s_t ; h_{t-T:t}].     (3)

The scalar vector is defined as:

s_t = [p_R; p_H; d(R,H); b_N, b_S, b_E, b_W; stride; a_{t-1}].     (4)

where p_R and p_H denote the two-dimensional positions of the microrobot and the hand, respectively; d(R,H) is their Euclidean distance; b_N, b_S, b_E, and b_W are the signed distances to the workspace boundaries; stride is the current movement step size; and a_{t-1} is the previous robot action. These variables describe the current geometric state of the interaction, including relative position, boundary distance, and recent action information.

The temporal buffer h_{t-T:t} contains the T = 16 most recent relative hand displacement vectors, forming a 32-dimensional sequence. This buffer captures recent velocity, acceleration, and repeated movement patterns that cannot be obtained from the current position alone. The scalar vector is processed by a Multi-Layer Perceptron (MLP) to extract the current geometric information. In parallel, the temporal buffer is processed by a Gated Recurrent Unit (GRU) sequence encoder. Because the GRU uses relative displacements rather than absolute positions, it focuses on movement direction, speed, acceleration, and oscillation. The outputs of the two streams are then concatenated and passed through a fusion MLP to produce a shared representation for policy and value prediction.

Although the ZPD-based reward provides a continuous training signal, it does not directly teach the encoder how to represent patient motion. Learning this representation only through policy reward can be slow and unstable. To provide a more direct signal, we attach a future-dynamics head to the fused representation. This head predicts the patient's future relative displacement over an eight-step horizon and also estimates near-catch risk. Since future displacements are already contained in the rollout, these targets can be obtained without extra data collection or manual annotation. The auxiliary trajectory loss is defined as:

L_traj = E[||D_hat_{t+1:t+H} - D_{t+1:t+H}||_2^2],   H = 8.     (5)

where D_hat_{t+1:t+H} is the predicted future displacement sequence and D_{t+1:t+H} is the observed future displacement sequence. The full training objective combines the PPO loss with the auxiliary trajectory and risk-prediction losses:

L_total = L_PPO + lambda_traj L_traj + lambda_risk L_risk.     (6)

where lambda_traj and lambda_risk control the auxiliary loss weights. Because the future-dynamics head shares the encoder with the policy, its gradients also update the spatial and temporal streams. This encourages the encoder to capture patient inertia, delay, and interaction dynamics, helping the robot policy anticipate near-future hand motion instead of reacting only to the current hand-microrobot distance.

C. League Training

A straightforward baseline approach is simultaneous training of both policies. However, simultaneous training in a two-agent game creates a non-stationary learning problem. The return of each agent depends on the policy of the other agent. When both policies are updated together, each update changes the environment faced by the other policy, which conflicts with the stationarity assumption of Proximal Policy Optimization (PPO). In practice, this can lead to cyclic adaptation: the robot learns to exploit the current hand policy, the hand then adapts to the robot, and the robot may forget strategies that were useful against earlier hand behaviors. To avoid this issue, one side of the interaction is frozen while the other is trained. During robot training, the hand policies are fixed and treated as part of the environment. During hand training, the robot policy is fixed. This alternating procedure provides a more stable learning objective than updating both policies simultaneously.

Classic multi-agent RL methods for competitive games often train both sides to maximize cumulative win rate. Our objective, however, differs from purely competitive games. In rehabilitation, the robot should not simply learn to defeat the hand. Instead, it should maintain an appropriate level of challenge for patients with different movement abilities. A single hand policy cannot represent this range of behavior. We therefore maintain an opponent pool P that stores hand policies from different training stages. These hand policies provide a diverse set of pursuit behaviors for training the robot.

The full procedure is formalized in Algorithm 1. Each iteration has two phases. In the robot phase, the opponent pool P is fixed, and the robot policy is trained with PPO against hand policies sampled from the pool. In the hand phase, a new hand policy is initialized from the previous hand policy and further trained against the current fixed robot policy. The trained hand policy is then added to P, increasing the diversity of hand behaviors used in the next robot training phase.

Algorithm 1: Iterative League Training

Initialize: opponent pool P <- {pi_H^script}, robot policy pi_R^(0)

for n = 1, 2, ..., N do

// Robot phase (pool frozen)

Train pi_R^(n) via PPO against opponents sampled

from P using prioritized distribution P(i)

// Hand phase (robot frozen)

Warm-start pi_H^(n) from pi_H^(n-1), fine-tune

against frozen pi_R^(n)

P <- P union {pi_H^(n)}

end for

Uniformly sampling from the opponent pool is inefficient. Weak hand policies provide little learning signal because the robot can maintain the desired distance too easily. Very strong hand policies may lead to mostly failed episodes, which also provide limited useful feedback. The most useful hand policies are those that are challenging but not impossible for the current robot policy. To focus training on these useful opponents, we track the robot's average normalized episode length against each hand policy and sample opponents using a length-prioritized distribution:

P(i) propto f(w_i),  f(w) = 1 / (1 + exp(-k * (eta - |w - 0.5|))).     (7)

where w_i denotes the normalized episode length against opponent i, k controls the sharpness of the distribution, and eta defines the tolerance band around the target value of 0.5. This sampling rule gives higher probability to hand policies that produce intermediate episode lengths. In this way, training effort is automatically concentrated on the most informative opponents without requiring a manually specified curriculum.

One possible risk of league training is that the robot may learn to exploit artificial patterns in the simulated hand policies. Such behavior would reduce the relevance of the learned policy for real rehabilitation. To reduce this risk, a fixed probability p_s is always assigned to the heuristic scripted hand policy. This ensures that the robot remains exposed to simple, noisy pursuit behavior, which is closer to the behavior expected from real patients.

VI. EXPERIMENTS AND RESULTS

The simulation study is organized around the main sources of uncertainty that the controller must handle before physical deployment. We first examine whether iterative league training produces a robot policy that remains effective across a growing set of learned hand behaviors. We then isolate the role of temporal interaction history and auxiliary future-dynamics supervision through a controlled network ablation. Finally, we compare representative robot policies under two automated hand-control mechanisms to assess generalization across pursuit strategies.

A. League Training Robustness

The league experiment uses a ZPD band of 3.5-5.5 workspace units and trains ten robot generations without providing an explicit opponent identity. Opponent identity is withheld to reflect the real-world condition in which patient capability cannot be directly observed. Each robot generation is evaluated against the learned hand pool and a scripted pursuit controller. Time-In-Zone (TIS), defined as the fraction of interaction time spent inside the ZPD band, is used as the main robustness metric. Mean and worst-case TIS are both reported, since a controller that excels on average may still fail for patients with atypical movement patterns.

Fig. 1 shows that robustness improves progressively as the opponent pool becomes more diverse. The final-generation robot achieves the strongest overall performance against learned hands, and the improvement is visible not only in the mean TIS curve but also in the worst-case trend. This distinction is important for rehabilitation: a policy that performs well only on average may still fail for patients whose movement patterns are difficult or atypical. The league result therefore suggests that opponent accumulation improves lower-tail performance, rather than merely optimizing for an easy subset of virtual patients.

The sorted empirical matrix provides a complementary view of the same phenomenon. Early robot generations perform well only against a limited portion of the hand pool, whereas later generations maintain useful ZPD interaction across a broader range of opponent difficulty. The scripted-hand evaluation remains useful as a consistency check, but it is less diagnostic than the learned-hand matrix because it does not expose strategy-dependent failures. This motivates the use of league-trained virtual patients as a stress-test distribution for adaptive rehabilitation policies.

Fig. 1. League-training overview for the no-opponent-ID ZPD 3.5-5.5 simulation. The final robot generation improves mean and worst-case time-in-zone against the learned-hand pool, while the sorted empirical matrix visualizes robustness across increasingly difficult virtual patients.

B. GRU Network Ablation

The architecture ablation compares three robot policy encoders under the same mixed-opponent protocol. The MLP baseline observes the current geometric state but does not explicitly encode recent interaction history. The GRU variant adds a temporal sequence encoder over the 16-frame relative-displacement buffer, allowing the policy to infer hand velocity, response delay, and pursuit tendency. The GRU+Aux variant further augments this recurrent representation with the auxiliary future-prediction objective described in Section IV-B. This comparison is designed to distinguish whether performance gains arise primarily from temporal memory or from the additional self-supervised prediction signal.

Fig. 2 summarizes the ablation result. The most prominent change occurs when temporal interaction history is introduced: both recurrent policies learn longer and more rewarding interactions than the MLP baseline. This indicates that the controller benefits from observing how the hand has been moving, not only where the hand is at the current instant. In contrast, the auxiliary variant follows a trajectory close to the GRU-only policy in the aggregate training curves. This suggests that, under the current training setting, temporal sequence modeling is the dominant contributor to control performance, while the auxiliary objective mainly shapes the learned representation.

The auxiliary prediction results provide additional insight into what the temporal representation has learned. Even when the policy-level improvement is modest, the future-dynamics head exposes what the temporal representation has learned about hand motion. The predicted trajectories capture short-horizon movement direction and progressively diverge at longer horizons, which is consistent with the uncertainty of multi-step forecasting in an interactive task. In this run, the auxiliary task does not function as an independent performance booster. Instead, it serves as a mechanism for encouraging and diagnosing patient-dynamics representation.

Fig. 2. GRU ablation and auxiliary future-motion prediction. Panels (a) and (b) show smoothed training reward and episode length for MLP, GRU, and GRU+Aux policies trained against the mixed learned-hand and scripted-hand pool. Panels (c) and (d) visualize representative auxiliary future-prediction examples and horizon-dependent trajectory error.

C. Policy Comparison on Scripted and Learned-Agent Hands

The final comparison evaluates whether the learned robot behavior transfers across different hand-control mechanisms. The scripted controller represents a simple noisy pursuit strategy, whereas the learned hand agent can exploit interaction patterns acquired through RL training. A robust rehabilitation controller should not be tuned exclusively to either case; it should maintain useful interaction when the hand behavior shifts between rule-based pursuit and learned strategic pursuit.

TABLE II: POLICY COMPARISON ON SCRIPTED AND LEARNED-AGENT HANDS

| Robot policy | Scripted hand | Agent hand |
| --- | --- | --- |
| Scripted-only | 0.31 / 0.54 / 52 / 60% | 0.19 / 0.54 / 31 / 90% |
| Single-agent | 0.11 / 0.41 / 25 / 95% | 0.49 / 0.60 / 70 / 38% |
| League | 0.38 / 0.55 / 67 / 43% | 0.48 / 0.65 / 64 / 48% |

Table II uses the format TIS / ZPD coverage / episode length / catch rate. The scripted-only baseline behaves as expected: it remains relatively effective on the scripted hand but is frequently caught by the learned agent. The single-agent baseline shows the opposite pattern, performing well against the learned hand while degrading on the scripted controller. These complementary failures indicate that training against a single opponent type can produce brittle specialization. The league-trained robot avoids the strongest form of either failure mode and provides the most balanced behavior across the two automated test conditions. Mouse-controlled human-in-the-loop evaluation is treated as a separate validation stage.

D. Sim-to-Real Transfer

Sim-to-real transfer in this system involves multiple compounding gaps: real hand kinematics, camera latency, and magnetic actuation dynamics are all absent from the virtual training environment. We therefore treat physical deployment as a closed-loop feasibility study rather than a paired benchmark comparison. The implementation uses the same 44-dimensional observation structure as simulation: robot position from Real-Time Data Exchange (RTDE), hand and microrobot positions from the overhead camera, boundary features, previous action, and the displacement-history buffer.

Perception and control run in separate threads to avoid jitter. The camera runs at 10-15 Hz, whereas the robot requires deterministic commands at a fixed control rate. Running both processes in one thread would allow a slow You Only Look Once (YOLO) inference step to stall the control loop. We therefore use two threads connected by a single-element message queue. The vision thread captures frames, runs undistortion and detection, and pushes results to the queue. If the queue is full, the stale result is replaced. The control thread runs at 20 Hz and attempts a non-blocking read each cycle. If a new frame is available, the hand position is updated; otherwise the system falls back to dead reckoning using a low-pass filtered velocity estimate from recent vision updates.

The 44-dimensional observation is assembled from the estimated hand position, the robot position via RTDE, and the displacement-history buffer, then fed to the PPO policy. The 2D action is accumulated as a virtual target in pixel space, rate-limited to prevent large per-step motion, and mapped to world coordinates via the inverse homography. The final pose is sent to the UR10 through the servoL interface with a 0.1 s lookahead time and proportional gain of 400, yielding smooth end-effector tracking.